## Recipe database
File | Folder | Description | AutoGenerateTest | 2D | 2D+T | 3D | 3D+T | Input Ch1 type | Input Ch2 type | Input Ch3 type | Input Ch4 type | Input Ch5 type | Input Ch6 type | Input number 1 type | Input number 2 type | Input number 3 type | Input number 4 type | Output 1 type | Output 2 type | Output 3 type | Aivia 16
CalculateIntersectionOverUnion.py | CollectImageMetrics | Calculates Intersection over Union value considering intensity above or equal 1 as a positive mask Side note: IoU values are output in the log (File > Options > Logging > Open) Returns ------- New channel to show intersection mask. Pressing CTRL+C after the popup window appears allow you to copy the text in the window. To be able to see the printed info in the log file, set: File > Options > Logging > Verbosity = everything | yes | X | X | X | X | binary_1 | binary_2 | [8 empty] | channel | number |  | ok
ImageComparisonMetrics.py | CollectImageMetrics | Calculates SSIM map as a result of the comparison of 2 channels and metrics values (in the log file). For the output image, it is highly recommended to use LUT color mapping to better see the variations in the SSIM values All real SSIM values (ranging from 0 to 1) can be retrieved from the map doing the following: divide intensities by 255 if image is 8-bit, or by 65535 if 16-bit. Side note: MSE and mean SSIM (and NRMSE, PSNR) values are output in the log To be able to see the printed info in the log file, set: File > Options > Logging > Verbosity = Everything Parameters ---------- First input: image to compare (e.g.Deep Learning restored image) Second input: reference (e.g. Ground Truth image), the one adjusted by histogram matching. IMPORTANT: Input channels need to have the same bit depth | yes | X | X | X | X | Fluo | binary | [8 empty] | channel | channel | list of numbers | ok
AiviaExperimentCreator.py | ConvertImagesForAivia | Creates an .aiviaexperiment file listing the different sample conditions (Control, Sample, etc.) as different wells. Grouping is done by asking to select files in the same group. Expects images having the same size and calibration. | no | [17 empty] | ok
DICOMStackToTIFF.py | ConvertImagesForAivia | Converts a stack of DICOM files to a single 3D TIFF for easy loading into Aivia. The converted file will be saved in the same directory as the DICOM files. | no | [17 empty] | ok
AdjustGamma.py | ProcessImages | Adjusts gamma of the input channel pixelwise according to O = I**gamma. | yes | X | X | X | X | Fluo | [5 empty] | float |  |  |  | channel |  |  | ok
AdjustGamma_MagicGui.py | ProcessImages | Adjusts gamma of the input channel pixelwise according to O = I**gamma. This extra version of this script is a good example on how to quickly implement a GUI popup with MagicGui. NOTE: When running test, a GUI will pop up for each test. Select 0.75 and press Run | no | X | X | X | X | Fluo | [9 empty] | channel |  |  | deleted
AdjustSigmoid.py | ProcessImages | Performs a Sigmoid contrast adjustment. Think of the "cutoff" being a number 0 - 1, representing a percentile of the histogram, above and below which the histogram is "squished" to its bounds. The gain controls the amount of "squishing". In mathematical terms, O = 1 / (1 + exp*(gain*(cutoff - I))). Note that this transform is prone to returning a wildly different dynamic range than the input image and should be parameterized carefully. | yes | X | X | X | X | Fluo | [5 empty] | float | float |  |  | channel |  |  | ok
Arithmetics_SingleChannel.py | ProcessImages | Various arithmetics to be applied to one channel (0=multiply, 1=divide, 2=add, 3=subtract). | yes | X | X | X | X | Fluo | [5 empty] | int | int |  |  | channel |  |  | ok
Boundaries_From_3D_Labeled_Mask.py | ProcessImages | Detects boundaries of 3D labeled objects and allows to creates measurable objects in Aivia. Works only when there is no time dimension (yet). | yes |  |  | X |  | labeled | [9 empty] | channel |  |  | ok
Dilate_2D_Labeled_Mask.py | ProcessImages | Dilate 2D labeled masks. | yes | X | X |  |  | labeled | [5 empty] | int |  |  |  | channel |  |  | ok
DrawArrayOfShapes_2D.py | ProcessImages | NOTE: When running test, a GUI will pop up for each test. Press `Reset values to default (96 multiwell template)` and proceed Create array of shapes in 2D or 2D+t images. | yes | X | X |  |  | Fluo | [9 empty] | channel |  |  | ok
DrawShapes_2D.py | ProcessImages | NOTE: When running test, a GUI will pop up for each test. Select the shape `Circle`, press `Reset values to default` and proceed Create array of shapes in 2D or 2D+t images. | yes | X | X |  |  | Fluo | [9 empty] | channel |  |  | ok
DrawShollCircles_2D_AiviaGui.py | ProcessImages | Create Sholl circles on 2D or 2D+t images. User can choose center position spacing and number of circles. | yes | X | X |  |  | Fluo | [5 empty] | int | int | int | int | channel |  |  | ok
MaxMask.py | ProcessImages | Given an input image (I) and a mask image (M), returns (O) the input image only where the mask image is BELOW a specified threshold (t). | yes |  | X | X | X | Fluo | Fluo |  |  |  |  | int |  |  |  | channel |  |  | ok
MaxSlices.py | ProcessImages | Performs a slicewise maximum intensity projection through Z with a given width about a slice. For example, using a width value of 2 means that for every slice, every voxel in XY will be replaced with the maximum value found within the 2 slices before and after that slice. Works only in 3D. | yes |  |  | X | X | Fluo | [5 empty] | int |  |  |  | channel |  |  | ok
MeijeringNeuriteness.py | ProcessImages | Finds and enhances bright ridges within the image that are within a reasonable range of the size given by the user. Returns a max projection through scale space for 5 evenly-spaced Gaussian sigmas. Because np.arange() is used to contruct the array of sigma values, the largest sigma is excluded. https://docs.scipy.org/doc/numpy/reference/generated/numpy.arange.html For example, if the user specifies min and max sigmas of 0.1 and 0.6, respectively, the transform is performed for Gaussian sigma values of 0.1, 0.2, 0.3, 0.4, 0.5. The maximum values from all of the transforms is output at every voxel. | yes | X |  | X |  | Fluo | [5 empty] | float | float |  |  | channel |  |  | ok
MinSlices.py | ProcessImages | Performs a slicewise minimum intensity projection through Z with a given width about a slice. For example, using a width value of 2 means that for every slice, every voxel in XY will be replaced with the minimum value found within the 2 slices before and after that slice. Works only in 3D. | yes |  |  | X | X | Fluo | [5 empty] | int |  |  |  | channel |  |  | ok
MorphologicalTexture.py | ProcessImages | Estimates image texure using morphological transforms. Closing and opening operations are performed in parallel. A disk kernel is used for 2D images, and a ball kernel is used for 3D images. The user defines the size of these kernels. The closing returns the max value within that neighborhood for every voxel, resulting in a brighter image. The opening returns the min value within that neighborhood for every voxel, resulting in a darker image. The opening result is then subtracted from the closing result to create the final output. | yes | X | X | X | X | Fluo | [5 empty] | int |  |  |  | channel |  |  | ok
ReplicateFirstTimeFrame.py | ProcessImages | Replicates the first image in a time series to all other time frames. Useful when a fixed mask needs to be replicated over time. | yes |  | X | X | X | Fluo | [9 empty] | channel |  |  | ok
ShapeIndex.py | ProcessImages | Computes the shape index as derived from the eigenvalues of the Hessian and returns it as a new channel scaled to 8bit space. Different values indicate convexity/concavitiy and shapes: - cups / caps - troughs / domes - ruts / ridges - saddle ruts / saddle ridges - saddles | yes | X | X | X | X | Fluo | [5 empty] | int |  |  |  | channel |  |  | ok
Skeletonize.py | ProcessImages | Computes a skeleton of the input image based on the thinning of its binarization: 1. The image is binarized (thresholded) based on the user's "Threshold" input 2. The binarized image is thinned according to the methodology explained in the linked documentation 3. (Optional) The skeleton image is closed based on the radius provided by the user. If the "Radius" is 0, no closing is performed. 4. The skeleton is converted to the bit space from the original image. | yes | X | X | X | X | binary | [5 empty] | int | int |  |  | channel |  |  | ok
SkeletonizeObjects.py | ProcessImages | Computes a skeleton of the input image based on the thinning of its binarization: 1. The image is binarized (thresholded) based on the user's "Threshold" input 2. The binarized image is thinned according to the methodology explained in the linked documentation 3. (Optional) The skeleton image is closed based on the radius provided by the user. If the "Radius" is 0, no closing is performed. 4. The skeleton is converted to the bit space from the original image. 5. The skeleton is passed to Aivia's mesh creation engine to output the result as a mesh. | yes |  |  | X | X | binary | [5 empty] | int | int |  |  | channel | channel |  | ok
SplitLabeledMask.py | ProcessImages | Separates labeled objects in a mask (2D or 3D). For instance, CellPose and StarDist output masks where objects can touch each other. In Aivia, objects need to be separated to be measurable. Works only when there is no time dimension (yet). | yes | X |  | X |  | labeled | [9 empty] | channel |  |  | ok
SubtractBackground_RollingBall.py | ProcessImages | Process a single channel image to subtract the background. See: https://scikit-image.org/docs/stable/api/skimage.restoration.html#skimage.restoration.rolling_ball | yes | X | X | X | X | Fluo | [5 empty] | float |  |  |  | channel |  |  | ok
SuperpixelPainter.py | ProcessImages | Compute watershed superpixels on an Aivia channel and create a mask from that painting. Usability note! This plugin currently only works under certain conditions: - Image is 2D only (no time) - Image is smaller than the size of the screen Improvements that would make this more usable are: - Add ability to change color of painted mask - Add ability to change color of superpixel boundaries - Convert the Compactness slider to a log scale - Scale image to screen size (need convert selected pixels by scaling factor) NOTE: When running test, a GUI will pop up for each test. Default configs: Compactness: 1, Marker: 10. Paint the superpixel in the TOP-LEFT corner of the image. | no | X |  |  |  | Fluo | [9 empty] | channel | channel |  | ok
ThresholdWithoutBorders2D.py | ProcessImages | Thresholds an image for segmentation, then clears any objects intersecting the image borders before creating an object set in Aivia. This recipe only works in 2D. Use ThresholdWithoutBorders3D instead for 3D cases. | yes | X | X |  |  | nuclei | [5 empty] | int | int |  |  | channel |  |  | ok
ThresholdWithoutBorders3D.py | ProcessImages | Thresholds an image for segmentation, then clears any objects intersecting the image borders before creating an object set in Aivia. This recipe only works in 3D. Use ThresholdWithoutBorders2D instead for 2D cases. Aivia's mesh creation engine will not automatically label meshes it creates in 3D, so we must explicitly label the objects we pass to Aivia. Aivia will also not accept images returned as a different bit depth than their input. Therefore, the user is recommended to convert their input channel to 16bit (right-click the channel > convert to > 16 bit) in Aivia before applying this recipe if they expect more than 255 objects to be segmented. | yes |  |  | X | X | nuclei | [5 empty] | int | int |  |  | channel |  |  | ok
Watershed.py | ProcessImages | Simple watershed. | yes | X | X | X | X | binary | [9 empty] | channel |  |  | ok
MaxIntensityProjection.py | TransformImages | Performs a maximum intensity projection through Z for a single channel. Works only in 3D (not 3D+t yet). | yes |  |  | X |  | Fluo | [9 empty] | channel | image file |  | ok
MaxIntensityProjectionRGB.py | TransformImages | Performs a maximum intensity projection through Z for a single channel. Repeats the operation for the two other channels of the RGB image. Works only in 3D (not 3D+t yet). | yes |  |  | X |  | R | G | B | [7 empty] | dummy channel | image file |  | ok
RGBtoLuminance.py | TransformImages | Computes the luminance of an RGB image and returns that as a new channel. Useful when images are saved as RGB (e.g. histopathology, photographs, etc.) and the user desires to apply a recipe or pixel classifier to only one channel, but wishes to retain the maximum amount of information from each. The luminance has a 30% contribution from the red channel, 59% contribution from the green channel, and 11% contribution from the blue channel. NOTE: Default is not to show the histogram (=0). The option can be turned on once when running the test manually, but no GT is expected | yes | X |  |  |  | R | G | B |  |  |  | int |  |  |  | channel |  |  | ok
Rotate2D.py | TransformImages | Rotates a 2D image given the user-defined angle. Works only for single channels. NOTE: Resize image option is 0 (=No) by default. A manual test with option = 1 would be advised | yes | X |  |  |  | Fluo | [5 empty] | int | int |  |  | channel |  |  | ok
Rotate3D_90deg.py | TransformImages | Scales the input channel up or down (isotropic factor) and rotates the volume 90 degrees around one axis (not centered). Works only for 3D (not timelapses) and for single channels. Output path is given with "params" for test and hardcoded for regular run in Aivia NOTE: when Magicgui panel appears, select Y - Clockwise | yes |  |  | X |  | Fluo | [9 empty] | dummy channel | image file |  | ok
ScaleImage.py | TransformImages | Scales the input channel up or down (isotropic factor). Option for interpolation is in the code. Works only for 2D/3D rescaling (not timelapses) but can be applied on a per timepoint basis. Works for single channels. Output path is given with "params" for test and hardcoded for regular run in Aivia | yes | X | X | X | X | Fluo | [5 empty] | float | float | int |  | dummy channel | image file |  | ok
ScaleImage_ForStarDist.py | TransformImages | Scales the input channel up or down depending on StarDist reference object diameter. Option for interpolation is in the code. Works only for 2D/3D rescaling (not timelapses) but can be applied on a per timepoint basis. Works for single channels. Output path is given with "params" for test and hardcoded for regular run in Aivia | yes | X | X | X | X | Fluo | [5 empty] | float | int |  |  | dummy channel | image file |  | ok
StackReg_2DImageAlignment_2channels.py | TransformImages | Performs a 2D registration for timelapses, using PyStackReg. Only one channel is used for auto-alignment detection, the other one is processed the same way as the first one. Methods: - Previous = Use previous image to calculate registration - First = First timepoint is used as the fixed reference. | yes |  | X |  |  | Fluo | Fluo | [8 empty] | channel | channel |  | ok
StackReg_ImageAlignment.py | TransformImages | Performs a 2D registration for timelapses, using PyStackReg. No parameters available (default ones only). Methods: - Previous = Use previous image to calculate registration - First = First timepoint is used as the fixed reference. | yes |  | X |  |  | Fluo | [9 empty] | channel |  |  | ok
ZColorCoding.py | TransformImages | Uses matplotlib colormaps to retrieve colors used to create color gradients applied to individual Z planes in a 3D image. Can be used with timepoints too, but is not adapted to 4D/5D images. | yes |  | X | X | X | Fluo | [5 empty] | int |  |  |  | channel | channel | channel | ok
Note on T23: Patrice Mascalchi: channel to be transformed as object set so will not show up as channel in Aivia
Note on E26: Patrice Mascalchi: ONLY 8 BIT !!!
Note on T26: Patrice Mascalchi: channel to be transformed as object set so will not show up as channel in Aivia
Note on S27: Patrice Mascalchi: channel to be transformed as object set so will not show up as channel in Aivia
Note on S28: Patrice Mascalchi: channel to be transformed as object set so will not show up as channel in Aivia
Note on P33: Patrice Mascalchi: To be changed to boolean input
Note on Q35: Patrice Mascalchi: boolean
Note on P36: Patrice Mascalchi: boolean

## Input Image match
Dimensions | Type | Depth | Filename match in _InputImages | ZCount | TCount | PxSize XY | PxSize Z | XYZ unit | TimeStep | Time unit | CalculateIntersectionOverUnion | ImageComparisonMetrics
2D | TL | 8bit | Test_RGB_YX_PigSkin_green.tif | 1 | 1
2D | Fluo | 8bit | Test_8bit_YX_mitoFluo_T15_MaxIP.tif | 1 | 1 | [6 empty] | 10376.419324430479, 0.29743232254715524
2D | binary | 8bit | Test_8bit_YX_mitoSeg_T15_MaxIP.tif | 1 | 1 | [6 empty] | 10376.419324430479, 0.29743232254715524
2D | binary_1 | 8bit | Test_8bit_YX_BinaryCylinder_MaxIP_1.tif | 1 | 1 | [5 empty] | 0.3640816326530612
2D | binary_2 | 8bit | Test_8bit_YX_BinaryCylinder_MaxIP_2.tif | 1 | 1 | [5 empty] | 0.3640816326530612
2D | labeled | 8bit | Test_8bit_YX_mitoSeg_T15_labeled.tif | 1 | 1
2D | R | 8bit | Test_RGB_YX_PigSkin_red.tif | 1 | 1
2D | G | 8bit | Test_RGB_YX_PigSkin_green.tif | 1 | 1
2D | B | 8bit | Test_RGB_YX_PigSkin_blue.tif | 1 | 1
2D | RGB | 8bit | Test_RGB_YX_PigSkin.tif | 1 | 1
2D | nuclei | 8bit | Test_8bit_YX_Fluo_nuclei.tif | 1 | 1 | 0.3 |  | micrometers
2D | mb | 8bit | Test_8bit_YX_Cells2D_pmembraneLabel.tif | 1 | 1
2D | foci | 8bit | Test_8bit_YX_fluo_synthetic-foci_A15.0.tif | 1 | 1
2D | TL | 16bit |  | 1 | 1
2D | Fluo | 16bit | Test_16bit_YX_Fluo_nuclei.tif | 1 | 1 | 0.3 |  | micrometers
2D | binary | 16bit | Test_16bit_YX_Fluo_nuclei_binary.tif | 1 | 1
2D | labeled | 16bit | Test_16bit_YX_Fluo_nuclei_labeled.tif | 1 | 1
2D | nuclei | 16bit | Test_16bit_YX_Fluo_nuclei.tif | 1 | 1 | 0.3 |  | micrometers
2D | mb | 16bit |  | 1 | 1
2D | foci | 16bit |  | 1 | 1
2D+T | TL | 8bit | Test_8bit_TYX_Particles.tif | 1 | 20
2D+T | Fluo | 8bit | Test_8bit_TYX_mitoFluo_MaxIP.tif | 1 | 31 | [6 empty] | 10688.767559486101, 0.28280655192335585
2D+T | binary | 8bit | Test_8bit_TYX_mitoSeg_MaxIP.tif | 1 | 31 | [6 empty] | 10688.767559486101, 0.28280655192335585
2D+T | labeled | 8bit | Test_8bit_TYX_mitoFluo_MaxIP_labeled.tif | 1 | 31
2D+T | nuclei | 8bit |  | 1
2D+T | mb | 8bit |  | 1
2D+T | foci | 8bit |  | 1
2D+T | TL | 16bit | Test_16bit_TYX_Particles.tif | 1 | 20
2D+T | Fluo | 16bit |  | 1
2D+T | binary | 16bit | Test_16bit_TYX_mitoFluo_MaxIP_binary.tif | 1 | 31
2D+T | labeled | 16bit | Test_16bit_TYX_mitoFluo_MaxIP_labeled.tif | 1 | 31
2D+T | nuclei | 16bit |  | 1
2D+T | mb | 16bit |  | 1
2D+T | foci | 16bit |  | 1
3D | Fluo | 8bit | Test_8bit_ZYX_mitoFluo_T15.tif | 11 | 1 | [6 empty] | 24135.69579375848, 0.13827314978697997
3D | binary | 8bit | Test_8bit_ZYX_mitoSeg_T15.tif | 11 | 1 | [6 empty] | 24135.69579375848, 0.13827314978697997
3D | binary_1 | 8bit | Test_8bit_ZYX_BinaryCylinder_1.tif | 50 | 1 | [5 empty] | 0.3640816326530612
3D | binary_2 | 8bit | Test_8bit_ZYX_BinaryCylinder_2.tif | 50 | 1 | [5 empty] | 0.3640816326530612
3D | labeled | 8bit | Test_8bit_ZYX_mitoSeg_T15_labeled.tif | 11 | 1
3D | R | 8bit | Test_8bit_ZYX_Cells3D_ch2_nuc.tif | 60 | 1
3D | G | 8bit | Test_8bit_ZYX_Cells3D_ch1_mb.tif | 60 | 1
3D | B | 8bit | Test_8bit_ZYX_Cells3D_ch2_nuc.tif | 60 | 1
3D | RGB | 8bit |  |  | 1
3D | nuclei | 8bit | Test_8bit_ZYX_Cells3D_ch2_nuc.tif | 60 | 1
3D | mb | 8bit | Test_8bit_ZYX_Cells3D_ch1_mb.tif | 60 | 1
3D | foci | 8bit |  |  | 1
3D | Fluo | 16bit | Test_16bit_ZYX_mitoFluo_T15.tif | 11 | 1
3D | binary | 16bit | Test_16bit_ZYX_mitoSeg_T15.tif | 11 | 1
3D | binary_1 | 16bit | Test_16bit_ZYX_mitoSeg_T15.tif | 11 | 1 | [5 empty] | 1.0
3D | binary_2 | 16bit | Test_16bit_ZYX_mitoSeg_T15.tif | 11 | 1 | [5 empty] | 1.0
3D | labeled | 16bit |  |  | 1
3D | nuclei | 16bit | Test_16bit_ZYX_Cells3D_ch2_nuc.tif | 60 | 1
3D | mb | 16bit | Test_16bit_ZYX_Cells3D_ch1_mb.tif | 60 | 1
3D | foci | 16bit |  |  | 1
3D+T | Fluo | 8bit | Test_8bit_TZYX_mitoFluo.tif | 11 | 31
3D+T | binary | 8bit | Test_8bit_TZYX_mitoSeg.tif | 11 | 31
3D+T | labeled | 8bit
3D+T | nuclei | 8bit
3D+T | mb | 8bit
3D+T | foci | 8bit
3D+T | Fluo | 16bit | Test_16bit_TZYX_mitoFluo.tif | 11 | 31
3D+T | binary | 16bit | Test_16bit_TZYX_mitoSeg.tif | 11 | 31
3D+T | labeled | 16bit | Test_16bit_TZYX_mitoFluo_labeled.tif | 11 | 31
3D+T | nuclei | 16bit | Test_16bit_TZYX_3DandT_Nuclei.tif | 11 | 3
3D+T | mb | 16bit
3D+T | foci | 16bit

## Valid
| TL, | Fluo, | binary, | binary_1, | binary_2, | labeled, | R, | G, | B, | RGB, | nuclei, | mb, | foci,
input | TL | Fluo | binary | binary_1 | binary_2 | labeled | R | G | B | RGB | nuclei | mb | foci
number | int | float
output | channel | image file | txt file | json file | xml file | xlsx file | csv file | number | list of numbers | dummy channel
autogen | yes | no
data type | 8bit | 16bit | 32bit